**ADDENDUM**

**Food Lion #2250**

**Morganton, NC**

**1/27/2020**

1. Add ½” drywall on 5/8” vertical hat channel between the bi-parting doors (doors 100C & 100D) on both the vestibule side and the sales area side. The bottom 4’ of the walls will be covered with blue Acrovyn with blue matching paint above. Also, add a conduit and receptacle in this area approximately 5’ high for the monitor.

Thank you.

**Clarence Ballard**

**Construction Manager**

Retail Business Services, an Ahold Delhaize company

2110 Executive Drive Salisbury, NC 28145

o: 704.310.2197

c: 704.223.0864

f: 704.645.2078

e: [Clarence.Ballard@retailbusinessservices.com](mailto:Clarence.Ballard@retailbusinessservices.com)